- PREPARATION OF SOLUTIONS:

Preparation of  5-Amino-4-Imidazole carboxamide lactose adducts stock Solution:

Step-1: Weighed and transferred ________(10.0) mg of 5-Amino-4-Imidazole carboxamide lactose adduct in to ________(20 mL) volumetric flask containing __________( 5mL ) diluent, sonicated to dissolved and made up to volume with diluent and mixed well.

Preparation of 5-Aminoimidazole-4-carboxamide hydrochloride stock Solution (Concentration 0.5mg/mL):

Weigh and transfer 25 mg of standard into a 50mL volumetric flask. Add 30mL of diluent, shake to dissolve, dilute to volume with diluent and mix.

  - Preparation of sample solution-1:

Weighed and transferred ________ (100 mg) of sample into a _______(5mL) volumetric flask containing ________(3mL) of diluent and vortex for __________(2minutes). Dissolved and made up the volume up to the mark with diluent.

  - Preparation of sample solution-2:

Weighed and transferred ________ (100 mg) of sample into a _______(5mL) volumetric flask containing ________(3mL) of diluent and vortex for __________(2minutes). Dissolved and made up the volume up to the mark with diluent.

  - Preparation of sample solution-3:

Weighed and transferred ________ (100 mg) of sample into a _______(5mL) volumetric flask containing ________(3mL) of diluent and vortex for __________(2minutes). Dissolved and made up the volume up to the mark with diluent.

Analyzed by: 					      Checked by:

Date: 						      Date:

  - Accuracy level-1 solution (LOQ Level-l) Preparation -1:

Weighed and transferred ________ (100 mg) of sample into a _______(5mL) volumetric flask containing ________(3mL) of diluent and vortex for __________(2minutes). Dissolved, added __________mL step-1 standard solution to LOQ level as per establishment of LOQ and made up the volume up to the mark with diluent.

  - Accuracy level-1 solution (LOQ Level-l) Preparation-2:

Weighed and transferred ________(100 mg) of sample into a _______(5mL) volumetric flask containing ________(3mL) of diluent and vortex for __________(2minutes). Dissolved, added __________mL step-1 standard solution to LOQ level as per establishment of LOQ and made up the volume up to the mark with diluent.

  - Accuracy level-1 solution (LOQ Level-l) Preparation-3:

Weighed and transferred ________(100 mg) of sample into a _______(5mL) volumetric flask containing ________(3mL) of diluent and vortex for __________(2minutes). Dissolved, added __________mL step-1 standard solution to LOQ level as per establishment of LOQ and made up the volume up to the mark with diluent.

Analyzed by: 					      Checked by:

Date: 						      Date:

  - Accuracy Level-2 solution (100%) Preparation -1:

Weighed and transferred ________(100 mg) of sample into a _______(5mL) volumetric flask containing ________(3mL) of diluent and vortex for __________(2minutes). Dissolved, added __________(0.5mL) step-1 standard solution and made up the volume

up to the mark with diluent.

  - Accuracy Level-2 solution (100%) Preparation -2:

Weighed and transferred ________(100 mg) of sample into a _______(5mL) volumetric flask containing ________(3mL) of diluent and vortex for __________(2minutes). Dissolved, added __________(0.5mL) step-1 standard solution and made up the volume

up to the mark with diluent.

  - Accuracy Level-2 solution (100%) Preparation -3:

Weighed and transferred ________(100 mg) of sample into a _______(5mL) volumetric flask containing ________(3mL) of diluent and vortex for __________(2minutes). Dissolved, added __________(0.5mL) step-1 standard solution and made up the volume

up to the mark with diluent.

Analyzed by: 					      Checked by:

Date: 						      Date:

- Acceptance Criteria:

- Shall meet the System suitability requirements.

- % Recovery of Monosubstitute 1 of DCP for Accuracy Level-2 should be between 80 to 120.

- % Recovery of Monosubstitute 1 of DCP for Accuracy Level-1 (LOQ) should be between 70 to 130.

- CALCULATIONS:

  - Amount of  Monosubstitute 1 of DCP added at LOQ level:

  - Amount of  Monosubstitute 1 of DCP added at 100% level:

10mL×0.5mL5mL×5mL100mg×           %100×100=_________%

Analyzed by: 					      Checked by:

Date: 						      Date:

Monosubstitute 1 of DCP	:

Content %= AsplAS ×wstd10 × 110   × 5Wt× P100 X 100Content %= AsplAS ×wstd100 × 2100  × 10Wt× P100 X 100Content %= AsplAS ×wstd100 × 525   × 10Wt× P100 X 100

Average Monosubstitute 1 of DCP peak area of standard solution (As): _______

Concentration of Monosubstitute 1 of DCP in standard solution (Cs):_____________

| Injection name | Area obtained (Aspl) | Sample weight (mg) Wt | Volume of diluent (mL) | Content (%) |
| --- | --- | --- | --- | --- |
| Sample solution-1 |  |  |  |  |
| Sample solution-2 |  |  |  |  |
| Sample solution-3 |  |  |  |  |
| Accuracy level-1 solution-1 |  |  |  |  |
| Accuracy level-1 solution-2 |  |  |  |  |
| Accuracy level-1 solution-3 |  |  |  |  |
| Accuracy level-2 solution-1 |  |  |  |  |
| Accuracy level-2 solution-2 |  |  |  |  |
| Accuracy level-2 solution-3 |  |  |  |  |

Analyzed By: 					Checked By:

Date: 						Date:

- OBSERVATION / RESULTS:

| S.No. | Accuracy level | No. of Preparations | Content Added (%) | Content Found (%) | % Recovery |
| --- | --- | --- | --- | --- | --- |
| 1 | Sample solution | Preparation-1 |  |  |  |
| 2 |  | Preparation-2 |  |  |  |
| 3 |  | Preparation-3 |  |  |  |
| 4 | LOQ Level-1 | Preparation-1 |  |  |  |
| 5 |  | Preparation-2 |  |  |  |
| 6 |  | Preparation-3 |  |  |  |
| 7 | 100% Level-2 | Preparation-1 |  |  |  |
| 8 |  | Preparation-2 |  |  |  |
| 9 |  | Preparation-3 |  |  |  |

- CONCLUSION:

The observed values are within / not within the limits of acceptance criteria for Accuracy.

Analyzed by: 						   Checked by:

Date: 							    Date

- DETAILS OF ATTACHED DOCUMENTS:

| S.No. | Details of attached documents | No. of Pages | Sample Set No.: |
| --- | --- | --- | --- |

- CROSS REFERENCE :

| S.No. | Particulars / Details | Reference parameter |
| --- | --- | --- |

Analyzed by: 					        Checked by:

Date: 						           Date:

- INCIDENTS / DEVIATIONS (IF ANY):

- OTHER INFORMATIONS (IF ANY):

Analyzed by: 					        Checked by:

Date: 						           Date: