- Chromatographic Conditions:

| Column Name | : ________________________________ ________________________________ (Packing L1 C18 (e.g: Inertsil ODS-3V or equivalent) |
| --- | --- |
| Column dimension | : __________________(4.6 x 250mm, 5µm) |
| Column ID | : __________________ |
| Flow rate(mL/min) | : ____________(1.0) |
| Detection (Wavelength) | : ____________(254nm) |
| Injection Volume (µL) | : ____________(10) |
| Column oven Temperature | : ____________(40°C) |
| Auto sampler Temperature | : ____________(5°C) |
| Needle wash | : ____________(Methanol (100%)) |
| 1.0% Standard preparation | : ____________(25-30 minutes) |
| 0.05% Standard preparation | : ____________(25-30 minutes) |
| Blank | : ____________(45 minutes) |
| Placebo | : ____________(45 minutes) |
| Samples | : ____________(45 minutes) |

Analyzed by: 					   Checked by:

Date: 					    Date:

- Preparation of solutions:

Concentrated Standard preparation (Concentration 0.5mg/mL):

Weighed and transferred ___________ (25 mg) of 5-Aminoimidazole-4-carboxamide into a ____________(50mL) volumetric flask. Added _________( 30mL) of diluent, shake to dissolved, diluted to volume with diluent and mixed.

1.0% Standard preparation (Concentration 0.005mg/mL):

Pipette out ___________(2.0mL) of the concentrated standard preparation into a ________(200 mL) volumetric flask, diluted to volume with diluent and mixed well.

0.05% Standard preparation (Concentration 0.00025mg/mL):

Pipette out ________(5.0mL) of the 1.0% Standard preparation into a ________(100 mL) volumetric flask, diluted to volume with diluent and mixed well.

Preparation of  5-Amino-4-Imidazole carboxamide lactose adduct Solution for 100% specification level:

Step-1: Weighed and transferred ________(10.0mg) of 5-Amino-4-Imidazole carboxamide lactose adduct in to _________(20 mL) volumetric flask contained _________( 5mL)  diluent, sonicated to dissolve and made up to volume with diluent and mixed well.

Analyzed by: 					   Checked by:

Date: 					    Date:

Preparation of Spiked sample solution for 5mg:

Empty, weighed and thoroughly mixed the contents of not less than twenty capsules. Weighed and transferred _________mg equivalent to about 50mg of Temozolomide (about 1000mg of blend) into a _________(100mL) volumetric flask. Added _______

(80mL) of diluent and _______(0.5mL) of 5-Amino-4-Imidazole carboxamide lactose adduct Solution for 100% specification level, stirred for 30minutes.Diluted to volume with diluent, mixed and centrifuge. Collected the supernatant solution in HPLC vial.

Preparation of Spiked sample solution for 250mg:

Empty, weighed and thoroughly mixed the contents of not less than twenty capsules. Weighed and transferred _________mg equivalent to about 250mg of Temozolomide (about 450mg of blend) into a _________(500mL) volumetric flask. Added _______

(400mL) of diluent and _______(2.5mL) of 5-Amino-4-Imidazole carboxamide lactose adduct Solution for 100% specification level, stirred for 30minutes.Diluted to volume with diluent, mixed and centrifuge. Collected the supernatant solution in HPLC vial.

Analyzed by: 					   Checked by:

Date: 					    Date:

Preparation of Sample  solution for 5mg (0.50mg/mL):

Empty, weighed and thoroughly mixed the contents of not less than twenty capsules. Weighed and transferred _________mg, equivalent to about 50mg of Temozolomide (about 1000mg of blend for 5mg strength) into a ________(100mL) volumetric flask. Added _______ (80mL) of diluent, stirred for ________(30minutes).Diluted to volume with diluent, mixed and centrifuge. Collected the supernatant solution in HPLC vial.

Preparation of Sample  solution for 250mg (0.50mg/mL):

Empty, weighed and thoroughly mixed the contents of not less than twenty capsules. Weighed and transferred ________mg equivalent to about 250mg of Temozolomide (about 450mg of blend for 250mg strength) into a _______(500mL)  volumetric flask. Added _________(400mL) of diluent, stirred for 30minutes.Diluted to volume with diluent, mixed and centrifuge. Collected the supernatant solution in HPLC vial.

Analyzed by: 					   Checked by:

Date: 					    Date:

Preparation of Placebo solution for 5mg:

Weighed and transferred ________mg  placebo powder (about 50mg of equivalent to Temozolomide) (about 1000mg of blend for 5mg strength) into a ___________(100mL) volumetric flask. Added______ (80mL) of diluent, stirred for _________ (30minutes). Diluted to volume with diluent, mixed and centrifuge. Collected the supernatant solution in HPLC vial.

Preparation of  Placebo  solution for 250mg:

Weighed and transferred ___________ mg placebo powder (about 250mg of equivalent to Temozolomide) (about 450mg of blend for 250mg strength) into a _________(500mL) volumetric flask. Added  ________(400mL) of diluent, stirred  for ___________(30minutes).Diluted  to volume with diluent, mixed and centrifuge. Collected the supernatant solution in HPLC vial.

Analyzed by: 					   Checked by:

Date: 					    Date:

- OBSERVATION:

| Sample name | Area |
| --- | --- |
| Standard solution-1 |  |
| Standard solution-2 |  |
| Standard solution-3 |  |
| Standard solution-4 |  |
| Standard solution-5 |  |
| Standard solution-6 |  |
| Avg. |  |
| Std. Dev. |  |
| % RSD |  |
| Bracketing Standard-1 |  |
| % RSD |  |
| Bracketing Standard-2 |  |
| % RSD |  |
| Bracketing Standard-3 |  |
| % RSD |  |
| Bracketing Standard-4 |  |
| % RSD |  |
| Bracketing Standard-5 |  |
| % RSD |  |

% Recovery of the 0.05% standard preparation_________________

Analyzed by: 					Checked by:

Date: 						Date:

- RESULTS:

Analyzed by: 					Checked by:

Date: 						Date:

- ACCEPTANCE CRITERIA:

- The %RSD for area responses of 5-Aminoimidazole-4-carboxamide hydrochloride peak in six replicate  injections of  standard solution should not be more than 5.0

- % Recovery of the 0.05% standard preparation throughout the analysis between 50.0% - 150%

- CONCLUSION:

The observed values are within / not within the limits of acceptance criteria for Robustness actual.

- DETAILS OF ATTACHED DOCUMENTS :

| S.No. | Details of attached documents | No. of Pages | Sample Set No.: |
| --- | --- | --- | --- |

Analyzed by: 				       	Checked by:

Date: 						Date:

- CROSS REFERENCES:

| S.No. | Particulars / Details | Reference parameter |
| --- | --- | --- |

- INCIDENTS/DEVIATIONS (IF ANY):

- OTHER INFORMATION (IF ANY):

Analyzed by: 					Checked by:

Date: 						Date: